## BOM_Priced
Reference | Qty | Order_Qty | Value | Description | Footprint | Manufacturer | MPN | Distributor | Distributor_PN | Specs (Tol/V/Type/TCR/P/I/DCR/Pkg) | Unit_Price_GBP | Ext_Price_GBP | Currency | Buy_Link
C1,C8,C17,C25,C33,C35 | 6 | 6 | 0.1uF | CAP CER 0.1UF 16V X7R 0603 | Capacitor_SMD:C_0603_1608Metric_Pad1.08x0.95mm_HandSolder | KEMET | C0603C104K4RACTU | DigiKey | 399-C0603C104K4RACTUCT-ND | ±10% / 16V / X7R / 0603 | 0.06 | 0.36 | GBP (ex VAT)
C2,C12,C13,C14,C15,C16,C18,C19,C20,C22,C23,C24,C26,C27,C47,C49,C50 | 17 | 20 | 1nF | CAP CER 1nF 50V C0G/NP0 0603 (1608M) ±5% | Capacitor_SMD:C_0603_1608Metric_Pad1.08x0.95mm_HandSolder | KEMET | C0603C102J5GACTU | Farnell | 1414605 | Tol=±5% / V=50V / Type=C0G/NP0 / Pkg=0603 | 0.0305 | 0.61 | GBP (ex VAT)
C3,C4,C5,C6,C7,C11,C21,C28,C34,C36,C37,C38 | 12 | 20 | 1uF | CAP CER 1uF 10V X5R 0603 (1608M) ±10% | Capacitor_SMD:C_0603_1608Metric_Pad1.08x0.95mm_HandSolder | KEMET | C0603C105K8PACTU | Farnell | 9227776 | Tol=±10% / V=10V / Type=X5R / Pkg=0603 | 0.0448 | 0.896 | GBP (ex VAT)
C9,C43,C46 | 3 | 10 | 10uF | CAP CER 10uF 10V X5R 0805 (2012M) ±10% | Capacitor_SMD:C_0805_2012Metric_Pad1.18x1.45mm_HandSolder | KEMET | C0805C106K8PACTU | Farnell | 1463362 | Tol=±10% / V=10V / Type=X5R / Pkg=0805 | 0.0594 | 0.594 | GBP (ex VAT)
C10 | 1 | 1 | 22uF | CAP CER 22uF 16V X5R 1206 (3216M) ±20% | Capacitor_SMD:C_1206_3216Metric_Pad1.33x1.80mm_HandSolder | Murata | GRM319R61C226ME15J | DigiKey | 490-GRM319R61C226ME15JCT-ND | Tol=±20% / V=16V / Type=X5R / Pkg=1206 | 0.3 | 0.3 | GBP (ex VAT)
C29,C30,C31,C32,C39,C40,C42,C44,C45 | 9 | 10 | 2.2uF | CAP CER 2.2uF 16V X7R 0805 (2012M) ±5% (flex/auto) | Capacitor_SMD:C_0805_2012Metric_Pad1.18x1.45mm_HandSolder | KEMET | C0805X225J4RECAUTO | Farnell | 4198468 | Tol=±5% / V=16V / Type=X7R / Pkg=0805 | 0.247 | 2.47 | GBP (ex VAT)
C41 | 1 | 10 | 0.01uF | CAP CER 0.01uF 50V X7R 0603 (1608M) ±10% | Capacitor_SMD:C_0603_1608Metric_Pad1.08x0.95mm_HandSolder | KEMET | C0603C103K5RACTU | Farnell | 1414609 | Tol=±10% / V=50V / Type=X7R / Pkg=0603 | 0.0188 | 0.188 | GBP (ex VAT)
D1,D2,D3,D4 | 4 | 4 | LED | LED Green 0805 | LED_SMD:LED_0805_2012Metric_Pad1.15x1.40mm_HandSolder | Lite-On | LTST-C170KGKT | DigiKey | 160-1414-1-ND | Pkg=0805 | 0.1 | 0.4 | GBP (ex VAT)
D5 | 1 | 5 | D_Schottky | Schottky diode 40V 1A SOD-123 | Diode_SMD:D_SOD-123 | Diodes Incorporated | 1N5819HW-7-F | Farnell | 1773475 | Pkg=SOD-123 | 0.219 | 1.095 | GBP (ex VAT)
IC1 | 1 | 1 | ADS1298 | 8-ch, 24-bit Analog Front End (ECG/EMG), TQFP-64 PowerPAD | ADS1298:HTQFP-64-PAP | Texas Instruments | ADS1298IPAG | DigiKey | 296-27734-ND | Pkg=HTQFP-64 (PAP) | 36.68 | 36.68 | GBP (ex VAT)
J1 | 1 | 1 | Conn_01x02 | JST XH series header, vertical THT, 2pos, 2.50mm pitch | Connector_JST:JST_XH_B2B-XH-A_1x02_P2.50mm_Vertical | JST | B2B-XH-A | DigiKey | 455-B2B-XH-A-ND | Pitch=2.50mm / Rows=1 / Pos=2 / Mount=THT / Series=XH
J2 | 1 | 1 | Conn_01x04 | JST XH series header, vertical THT, 4pos, 2.50mm pitch | Connector_JST:JST_XH_B4B-XH-A_1x04_P2.50mm_Vertical | JST | B4B-XH-A | DigiKey | 455-B4B-XH-A-ND | Pitch=2.50mm / Rows=1 / Pos=4 / Mount=THT / Series=XH
J3 | 1 | 1 | Conn_01x06 | JST XH series header, vertical THT, 6pos, 2.50mm pitch | Connector_JST:JST_XH_B6B-XH-A_1x06_P2.50mm_Vertical | JST | B6B-XH-A | DigiKey | 455-B6B-XH-A-ND | Pitch=2.50mm / Rows=1 / Pos=6 / Mount=THT / Series=XH
J4 | 1 | 1 | Conn_02x10_Odd_Even | JST PHD series header, vertical THT, 20pos (2x10), 2.00mm pitch, shrouded | Connector_JST:JST_PHD_B20B-PHDSS_2x10_P2.00mm_Vertical | JST | B20B-PHDSS | DigiKey | 455-B20B-PHDSS-ND | Pitch=2.00mm / Rows=2 / Pos=20 (2x10) / Mount=THT / Series=PHD
J6 | 1 | 100 | Conn_02x01 | JST XH series header, vertical THT, 2pos, 2.50mm pitch | Connector_JST:JST_XH_B2B-XH-A_1x02_P2.50mm_Vertical | JST | B2B-XH-A | DigiKey | 455-B2B-XH-A-ND | Pitch=2.50mm / Rows=1 / Pos=2 / Mount=THT / Series=XH |  |  | GBP (ex VAT)
L2 | 1 | 5 | 22uH | Power inductor 22uH 1210 | Inductor_SMD:L_1210_3225Metric | Murata | LQH32PN220MN0L | Farnell | 2470301 | I=(check datasheet) / DCR=(check datasheet) / Pkg=1210 | 0.204 | 1.02 | GBP (ex VAT)
R1 | 1 | 10 | 1M | RES 1MΩ 1% 0603 0.1W | Resistor_SMD:R_0603_1608Metric_Pad0.98x0.95mm_HandSolder | Yageo | RC0603FR-071ML | Farnell | 9238840 | Tol=±1% / P=0.1W / Pkg=0603 | 0.0105 | 0.105 | GBP (ex VAT)
R3 | 1 | 10 | 220 | RES 220Ω 1% 0603 0.1W | Resistor_SMD:R_0603_1608Metric_Pad0.98x0.95mm_HandSolder | Yageo | RC0603FR-07220RL | Farnell | 9238409 | Tol=±1% / P=0.1W / Pkg=0603 | 0.0068 | 0.068 | GBP (ex VAT)
R4 | 1 | 10 | 470 | RES 470Ω 1% 0603 0.1W | Resistor_SMD:R_0603_1608Metric_Pad0.98x0.95mm_HandSolder | Yageo | RC0603FR-07470RL | Farnell | 9238441 | Tol=±1% / P=0.1W / Pkg=0603 | 0.0077 | 0.077 | GBP (ex VAT)
R5 | 1 | 10 | 200 | RES 200Ω 1% 0603 0.1W | Resistor_SMD:R_0603_1608Metric_Pad0.98x0.95mm_HandSolder | Yageo | RC0603FR-07200RL | Farnell | 3495763 | Tol=±1% / P=0.1W / Pkg=0603 | 0.0051 | 0.051 | GBP (ex VAT)
R6 | 1 | 10 | 130 | RES 130Ω 1% 0603 0.1W | Resistor_SMD:R_0603_1608Metric_Pad0.98x0.95mm_HandSolder | Yageo | RC0603FR-07130RL | Farnell | 3495733 | Tol=±1% / P=0.1W / Pkg=0603 | 0.0051 | 0.051 | GBP (ex VAT)
RN1,RN2,RN3,RN6 | 4 | 10 | CAY16-222J4LF | Resistor array 4x 2.2kΩ ±5% 0603x4 (convex) | CAY16:RESCAF80P320X160X60-8N | Bourns | CAY16-222J4LF | Farnell | 1770134 | Pkg=CAY16 (4-res) | 0.0305 | 0.305 | GBP (ex VAT)
RN5 | 1 | 10 | CAY16-4701F4LF | Resistor array 4x 4.7kΩ ±1% 0603x4 (convex) | CAY16:RESCAF80P320X160X60-8N | Bourns | CAY16-4701F4LF | Farnell | 2321746 | Pkg=CAY16 (4-res) | 0.0363 | 0.363 | GBP (ex VAT)
U1,U2,U3,U4,U5,U9 | 6 | 6 | TPD4E1B06DRLR | ESD protection array, 4-channel, DRL (SOT-6) | TPD4E:SOT50P160X60-6N | Texas Instruments | TPD4E1B06DRLR | DigiKey | 296-40697-1-ND | Pkg=SOT-6 (DRL) | 0.6 | 3.6 | GBP (ex VAT)
U6 | 1 | 1 | TPS7A2033PDBVR | LDO regulator 3.3V, SOT-23-5 | TPS7A:SOT95P280X145-5N | Texas Instruments | TPS7A2033PDBVR | DigiKey | 296-TPS7A2033PDBVRCT-ND | Pkg=SOT-23-5 (DBV) | 0.24 | 0.24 | GBP (ex VAT)
U7 | 1 | 1 | TPS60400DBVTG4 | Charge pump inverter, SOT-23-5 | TPS604:SOT95P280X145-5N | Texas Instruments | TPS60400DBVT | DigiKey | 296-12013-1-ND | Pkg=SOT-23-5 (DBV) | 1.04 | 1.04 | GBP (ex VAT)
U8 | 1 | 1 | TPS72325DBVRG4 | LDO regulator 2.5V, SOT-23-5 | TPS723:SOT95P280X145-5N | Texas Instruments | TPS72325DBVR | DigiKey | 296-39479-1-ND | Pkg=SOT-23-5 (DBV) | 2.56 | 2.56 | GBP (ex VAT)
U10 | 1 | 1 | TLV70025DDCR | LDO regulator 2.5V, SOT-23-5 (DDC) | TLV70025:SOT95P280X110-5N | Texas Instruments | TLV70025DDCT | DigiKey | 296-25568-1-ND | Pkg=SOT-23-5 (DDC) | 0.63 | 0.63 | GBP (ex VAT)
VR1 | 1 | 5 | TLV70033DDCR | LDO regulator 3.3V, SOT-23-5 (DDC) | TLV70033:SOT95P280X110-5N | Texas Instruments | TLV70033DDCR | Farnell | 3007774 | Pkg=SOT-23-5 (DDC) | 0.187 | 0.935 | GBP (ex VAT)
[11 empty] | TOTAL (GBP, ex VAT) | 54.638
PHD_MATE_HOUSING | 1 | 1 |  | JST PHD mating housing, 2x10 2.00mm (mates B20B-PHDSS) |  | JST | PHDR-20VS | DigiKey | PHDR-20VS |  | 0.2 | 0.2 | GBP | https://www.digikey.co.uk/en/products/detail/jst-sales-america-inc/PHDR-20VS/608616
PHD_MATE_LEAD | 20 | 20 |  | Pre-crimped jumper lead for JST PHD (SPHD-001T-P0.5 contacts), 6in; use as PHD harness conductors |  | JST | APAPA22K152 | DigiKey | APAPA22K152 | wire 22 AWG (per listing) | 0.28 | 5.6 | GBP | https://www.digikey.co.uk/en/products/detail/jst-sales-america-inc/APAPA22K152/6009461
ELEC_LEAD_TENS_PAIR | 5 | 5 |  | TENS electrode lead wires (snap/stud ends) - 1 pair (typically 2-channel); cut plug end for splice to APAPA leads |  |  |  | eBay (Healthcare World) | 261074784998 | verify connector: snap/stud; typically 3.5mm plug end to be cut | 7.07 | 35.35 | GBP | https://www.ebay.co.uk/itm/261074784998
ELEC_PADS_50PK | 1 | 1 |  | Disposable snap ECG/EMG electrodes, pack of 50 (medical supply) |  | SKINTACT |  | eSupplies Medical | D4203 | snap electrodes; confirm snap compatibility | 11.23 | 11.23 | GBP | https://www.esuppliesmedical.co.uk/Equipment/ECG/ECG-Accessories/SKINTACT-Tab%E2%80%99n%E2%80%99Snap-Aqua-Wet-ECG-Electrodes-x50/p/D4203

## Summary
Distributor | Lines | Total_Order_Qty | Total_GBP
Farnell | 15 | 155 | 8.828
DigiKey | 16 | 147 | 51.61
eBay (Healthcare World) | 1 | 5 | 35.35
eSupplies Medical | 1 | 1 | 11.23
107.018